**Maximum Contaminant Level Violation MCL, LRAA/TTHM**

The Texas Commission on Environmental Quality (TCEQ) has notified the Crystal Clear SUD TX0940015 that the drinking water being supplied to customers had exceeded the Maximum Contaminant Level (MCL) for the total trihalomethanes to be 0.080 milligrams per liter (mg/L) based on the locational running annual average (LRAA), and has determined that it is a health concern at levels above the MCL. Analysis of drinking water in your community for total trihalomethanes indicates a compliance value in quarter one of 2019 of 0.094 mg/L for DBP2-03.

Trihalomethanes are a group of volatile organic compounds that are formed when chlorine added to the water during the treatment process for disinfection, reacts with naturally-occurring organic matter in the water.

Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidney or central nervous systems, and may have an increased of getting cancer.

You do not need to use and alternative water supply. However, if you have health concerns, you may want to talk to your doctor to get more information about how this may affect you.

Crystal Clear is taking the following actions to address this issue: We are in the process of converting to the use of ozone in the treatment process.

Please share this information with all the people who drink this water, especially those who may not have received this notice directly (i.e., people in apartments, nursing homes, schools and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have any questions please contact Crystal Clear SUD at 830-372-1031.

Posted on [www.crystalclearsud.org](http://www.crystalclearsud.org) May 10, 2019

**Maximum Contaminant Level Violation MCL, LRAA/Total Haloacetic Acid (HAA5)**

The Texas Commission on Environmental Quality (TCEQ) has notified the Crystal Clear SUD TX0940015 that the drinking water being supplied to customers had exceeded the Maximum Contaminant Level (MCL) for haloacetic acids (group of five) to be 0.060 milligrams per liter (mg/L) based on the locational running annual average (LRAA), and has determined that it is a health concern at levels above the MCL. Analysis of drinking water in your community for haloacetic acids (group of five) indicates a compliance value in quarter one of 2019 of 0.062 mg/L for DBP2-03.

Haloacetic acids are a group of volatile organic compounds that are formed when chlorine added to the water during the treatment process for disinfection, reacts with naturally-occurring organic matter in the water.

Some people who drink water containing HAA5 in excess of the MCL over many years have an increased of getting cancer.

You do not need to use and alternative water supply. However, if you have health concerns, you may want to talk to your doctor to get more information about how this may affect you.

Crystal Clear is taking the following actions to address this issue: We are in the process of converting to the use of ozone in the treatment process.

Please share this information with all the people who drink this water, especially those who may not have received this notice directly (i.e., people in apartments, nursing homes, schools and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have any questions please contact Crystal Clear SUD at 830-372-1031.

Posted on [www.crystalclearsud.org](http://www.crystalclearsud.org) May 10, 2019